## Sheet1
Pretendents:
Optomehāniskās komponentes projekta Nr. lzp-2020/2-0238 īstenošanai
ID Nr.: LU CFI 2020/43/ERAF
Projekts: Nr. lzp-2020/2-0238 “Laika un polarizācijas atkarīgas Kerra spektroskopijas pilnveidošana”
Nr.p.k. | Preces nosaukums | Tehniskās prasības |  |  | Piedāvātās preces apraksts | Prognozētais daudzums (iepakojumu skaits) | 1 vienības cena EUR bez PVN | Kopā
1 | Soleil-Babinet Compensators | 740 - 1650 nm | SBC-IR vai ekvivalents | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=871 |  | 1 |  | 0
2 | Delay line | 3.3 fs Delay step, 100 mm Travel, Optical delay 666 ps | ODL100/M vai ekvivalents | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_ID=5521 |  | 1 |  | 0
3 | Quadrant Position Photodiode Detectors | 400 to 1050 nm | PDQ80A vai ekvivalents | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=4400 |  | 1 |  | 0
4 | Quadrant Position Photodiode Detectors | 1000 to 1700 nm | PDQ30C vai ekvivalents |  |  | 1 |  | 0
5 | Travel Translation Stages | Single Axis Translation Stage, 50 mm, Metric | LT1/M vai ekvivalents | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=1272 |  | 2 |  | 0
6 | Translation Stages |  | XR50P/M vai ekvivalents | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=11538 |  | 1 |  | 0
7 | Z-Axis Stage Assembly Kits |  | XR25-XZ/M vai ekvivalents | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=11538 |  | 1 |  | 0
8 | Ge Transimpedance Amplified Photodetectors | Ge Switchable Gain Amplified Detector, 800 - 1800 nm, 510 kHz BW, 19.6 mm2, Universal 8-32 / M4 Taps | PDA50B2 vai ekvivalents | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=947 |  | 2 |  | 0
9 | Solid Aluminum Optical Breadboards | 300 mm x 600 mm x 12.7 mm, M6 Taps | MB3060/M vai ekvivalents | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=159 |  | 1 |  | 0
10 | Optical Posts |  | TR100/M-P5 vai ekvivalents | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=1266 |  | 2 |  | 0
11 | Optical Posts |  | TR150/M-P5 vai ekvivalents |  |  | 2 |  | 0
12 | Post Holders |  | PH75/M-P5 vai ekvivalents | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=1268 |  | 2 |  | 0
13 | Slotted Bases |  | BA1/M-P5 vai ekvivalents | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=47 |  | 2 |  | 0
[5 empty] | Kopā EUR bez PVN |  |  | 0